LTC-09 Tool

MRRC - MEP Reliability and Redundancy Canvas

Use this before accepting MEP value-engineering decisions that may create operational risk.

Purpose: Help owners, operators, facilities, clinical leadership, design teams, and contractors test whether mechanical, electrical, plumbing, life safety, controls, and low-voltage decisions are reliable enough for long-term care operations before layout, scope, or value-engineering decisions are locked.

Important: This worksheet is an operational planning tool, not engineering, code, medical, or legal advice. Confirm all system requirements, code interpretations, redundancy assumptions, temporary-service plans, and commissioning requirements with licensed engineers, contractors, facilities leadership, clinical leadership, and the authorities having jurisdiction.

# Project Snapshot

| Project / Facility | Project Type | Date | Prepared By |
| --- | --- | --- | --- |

# 1. Critical Systems Baseline

List the systems that directly affect resident/patient safety, staff continuity, care delivery, building operations, or compliance. Mark the risk if the system is unavailable or degraded.

| System / Area | Operational Dependency | Risk if Failed | Criticality (H/M/L) | Owner / Engineer / GC Notes |
| --- | --- | --- | --- | --- |
| Electrical / emergency power |  |  |  |  |
| HVAC / ventilation |  |  |  |  |
| Domestic water / hot water |  |  |  |  |
| Plumbing / sanitary |  |  |  |  |
| Fire alarm / sprinkler interfaces |  |  |  |  |
| Low-voltage / nurse call / security |  |  |  |  |
| Controls / BAS / monitoring |  |  |  |  |

# 2. Operations Dependency Map

For each operation below, identify the MEP systems it relies on and what happens during outage, maintenance, construction, or value-engineering changes.

| Operation | Systems Required | Downtime Tolerance | Temporary / Backup Plan | Decision Needed |
| --- | --- | --- | --- | --- |
| Med storage / med pass |  |  |  |  |
| Meals / dining |  |  |  |  |
| Bathing / hygiene |  |  |  |  |
| Laundry / soiled handling |  |  |  |  |
| Resident room comfort |  |  |  |  |
| High-acuity / special care areas |  |  |  |  |
| Security / elopement controls |  |  |  |  |

# 3. Reliability Risk Test

Use this table to find hidden single points of failure before the team accepts a design direction or value-engineering option.

| Reliability Question | Pass / Concern / Fail | Evidence / Notes | Action Owner | Due Date |
| --- | --- | --- | --- | --- |
| Are there single points of failure for critical care operations? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Can the system be maintained without major care disruption? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Are alarms, monitoring, and response responsibilities clear? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Are critical rooms protected against overheating, underheating, water loss, or exhaust failure? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Are equipment access, replacement path, and parts lead time understood? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Are outage durations and temporary services defined? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Are commissioning and startup expectations clear? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |
| Are AHJ / survey / licensure implications assigned for confirmation? | ☐ Pass ☐ Concern ☐ Fail |  |  |  |

# 4. Value-Engineering Impact Filter

Use this before accepting a cost-saving change. The question is not only "What is the first-cost savings?" The question is "What operational risk are we buying?"

| Proposed VE / Substitution | First-Cost Savings | Operations Affected | Risk Created | Accept / Mitigate / Reject |
| --- | --- | --- | --- | --- |

# 5. Redundancy and Backup Strategy

Not every system needs full redundancy. But every critical system needs an intentional strategy: full backup, partial backup, manual workaround, temporary connection, phasing plan, or no-go.

| System / Function | Strategy Selected | Why This Is Acceptable | What Must Be Confirmed | Owner |
| --- | --- | --- | --- | --- |
|  | ☐ Full redundancy ☐ Partial backup ☐ Temp connection ☐ Manual workaround ☐ No-go |  |  |  |
|  | ☐ Full redundancy ☐ Partial backup ☐ Temp connection ☐ Manual workaround ☐ No-go |  |  |  |
|  | ☐ Full redundancy ☐ Partial backup ☐ Temp connection ☐ Manual workaround ☐ No-go |  |  |  |
|  | ☐ Full redundancy ☐ Partial backup ☐ Temp connection ☐ Manual workaround ☐ No-go |  |  |  |
|  | ☐ Full redundancy ☐ Partial backup ☐ Temp connection ☐ Manual workaround ☐ No-go |  |  |  |
|  | ☐ Full redundancy ☐ Partial backup ☐ Temp connection ☐ Manual workaround ☐ No-go |  |  |  |

# 6. Shutdown / Temporary Service / Commissioning Plan

Use for renovation, replacement, or occupied work. A system change is not ready if the outage, temporary-service path, staff communication, and recommissioning plan are vague.

| System / Work Activity | Outage or Tie-In Required? | Temporary Service Needed? | Staff / Resident Communication | Testing / Commissioning Required |
| --- | --- | --- | --- | --- |

# 7. MEP Reliability GO / NO-GO Gate

Use this gate before accepting layout lock, system scope, equipment substitutions, or major value-engineering decisions.

| ☐ Critical systems and operational dependencies are mapped | ☐ Single points of failure are identified and mitigated or accepted intentionally |
| --- | --- |
| ☐ Downtime tolerance and temporary-service plans are documented | ☐ Maintenance access and replacement path are confirmed |
| ☐ Alarms, controls, monitoring, and response responsibilities are clear | ☐ Commissioning / testing requirements are defined |
| ☐ AHJ, licensure, survey, and code confirmations are assigned | ☐ Value-engineering savings have been weighed against operational risk |
| ☐ Open risks have owner, due date, and decision path | ☐ Leadership accepts residual risk in writing before scope lock |

# GO / NO-GO Decision

| Decision | Use This If | Required Next Step |
| --- | --- | --- |
| GO | MEP reliability risks are mapped, mitigation is clear, and open items do not change layout, systems, phasing, or operations. | Proceed with documented assumptions and decision log. |
| CONDITIONAL GO | Open items remain, but each has an owner, deadline, and temporary mitigation; leadership accepts the risk. | Track decisions weekly until resolved. |
| NO-GO | An open MEP issue could change layout, system scope, cost, phasing, commissioning, or operational continuity. | Resolve the issue before locking scope or accepting VE. |

# Meeting Notes / Decisions / Follow-Up

| Decision / Risk | Owner | Due Date | Notes |
| --- | --- | --- | --- |